## Total lighting point
Light Fan AC Calculation sheet
Sr. No. | Location | No of lighting Fixture | No of Exhaust fan | No of Fan Required | AC (TR) Required | No of Normal (6A) Socket | No of Power (16A) Socket P+AC |  | Total lighting point
[7 empty] | P | AC
1 | Entrence Hall | 3 | 0 | 1 | 1.5 | 3 | 1 | 1 | 7
2 | Master bedroom | 2 | 0 | 1 | 1.5 | 3 | 1 | 1 | 6
3 | Dining Area | 1 | 0 | 1 | 1 | 2 | 0 | 1 | 4
4 | Kitchen | 2 | 0 | 1 | 1.5 | 5 | 2 | 1 | 8
5 | C1 Bedroom | 2 | 0 | 1 | 0 | 2 | 1 | 0 | 5
6 | C2 Bedroom | 2 | 0 | 1 | 0 | 2 | 1 | 0 | 5
7 | C3 Bedroom | 2 | 0 | 1 | 0 | 2 | 1 | 0 | 5
8 | M.Toilet | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 2
9 | C.Toilet | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 2
10 | C1 Bed room war | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 2
11 | C2 Bed room war | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 2
12 | Master bedroom war | 1 | 0 | 0 | 0 | 1 | 1 | 0 | 2